## Slide 1: Solar Shading optimization
Justin Roberts

## Slide 2: Outline
Background
History
Developing the Model
Analysis
Future Work

## Slide 3: Background
Each solar cell produces .5 volts
Effects on power performance
  Temperature
  Partial Shading
  Series/Parallel Connectivity

## Slide 4: Partial Shading Effects
Thakkar, N. et al., 2010. A simple non-linear model for the effect of partial shade on PV systems. In Photovoltaic Specialists Conference (PVSC), 2010 35th IEEE. pp. 002321–002326.

## Slide 5: Partial shading effects
Chowdhury, S.R. & Saha, H., 2010. Maximum power point tracking of partially shaded solar photovoltaic arrays. Solar energy materials and solar cells, 94(9), pp.1441–1447.

## Slide 6: Serial parallel connectivity
Malathy, S. & Ramaprabha, R., 2015. Comprehensive analysis on the role of array size and configuration on energy yield of photovoltaic systems under shaded conditions. Renewable and Sustainable Energy Reviews, 49, pp.672–679.

## Slide 7: Modeling
Peled, A. & Appelbaum, J., 2017. Enhancing the power output of PV modules by considering the view factor to sky effect and rearranging the interconnections of solar cells. Progress in Photovoltaics: Research and Applications, 25(9), pp.810–818.
González-Longatt, F.M. & others, 2005. Model of photovoltaic module in Matlab. Ii Cibelec, 2005, pp.1–5.

## Slide 8: single cell

## Slide 9: DOE – Uniform shading
FACTORS
Number of Cells
  36-72
Shading Percentage
  0-100%
Parallel or Serial
Temperature
  - 62 – 52 ˚C
OUTPUT
Maximum Power

## Slide 10: Parameter estimates
Notes: Minimized BIC and AIC

## Slide 11: Goodness of fit
Actual by Predicted Plot
Residual by Predicted Plot
Normal Plot
R-Squared = .999995
R-Squared Adjusted = .999995

## Slide 12: Optimization profiler

## Slide 13: 2 cells in series and parallel
Uniform Shading
Max Power = 6.3 (W)

## Slide 14: Partial shading of individual cells

## Slide 15: Partial shading connections

## Slide 16: 2 Cells in Series and Parallel
Series Max Power = 2 (W)
Parallel Max Power = 4 (W)

## Slide 17: Series Reverse Bias

## Slide 18: DOE shading inputs
Uniform Design
36 cells
60 cells
72 cells

## Slide 19: 36 cell panel
Series Max Power = 42 (W)
Parallel Max Power = 73 (W)

## Slide 20: 60 cell panel
Series Max Power = 70 (W)
Parallel Max Power = 121 (W)

## Slide 21: 72 cell panel
Series Max Power = 83 (W)
Parallel Max Power = 145 (W)

## Slide 22: Power Differences
Number of Cells in Module | Power Difference (W) (Parallel – Serial)
36 | 31
60 | 51
72 | 62

## Slide 23: Conclusions
Parallel vs Serial connection doesn’t make a difference under uniform shading
Parallel connection performs better under non uniform shading
Shading a bigger contributor to solar performance than temperature

## Slide 24: Future work/Publications
Journals
  IEEE explore
  Solar Energy Journal
A more automated model for non-uniform shading
Bypass diode configurations
More connection configurations than straight series and parallel